## Sheet1
CHECK LIST
Minnesota Green Path Energy Efficiency
Item # | Available Points | Earned Points
1 | 1 |  | Sub-slab insulation is installed under slabs within the thermal envelope (R10 minimum).
2 | 1 |  | A systems approach to home design was used. Upload plan with air barriers, vapor retarders, and drainage planes clearly identified
3 | 1 |  | A vestibule with two gasketed self-closing doors and walk-off mat is installed
4 | 1 |  | Bottom plates of exterior walls are sealed to subfloor with gasket or two beads of caulk
5 | 1 |  | Foundation and mudsill are air sealed
6 | 1 |  | Cantilevered floors are completely sealed with spray foam above supporting walls.
7 | 2 |  | A GSHPI system with a high efficiency furnace (95+) and ECM Motor is installed
8 | 1 |  | Insulated sheathing is installed on exterior of the building walls (R20 + 5 continuous or R13 + 10 continuous minimum)
9 | 1 |  | No wood burning fireplaces are installed inside the thermal envelope
10 | 1 |  | An induction cook top is installed
11 | 1 or 2 |  | A solar-electric photovoltaic system is installed (1 point 4kw system and 2 points for 4.01 or greater).
12 | 1 |  | A drain-water heat recovery unit (DHR / Combi-core) is installed.
13 | 1 |  | 80% of windows sq. footage have a U-value of 0.20 or lower
14 | 1 |  | No recessed lights are installed into unconditioned space.
15 | 2 |  | Basement walls are Insulated Concrete Formwork (ICF)
16 | 2 |  | Above grade walls are Insulated Concrete Formwork (ICF).
17 | 2 |  | Above grade walls are Structurally Insulated Panels (SIPs).
18 | 2 |  | Roof/ceiling system is Structurally Insulated Panels (SIPs)
19 | 2 |  | Exterior foam insulation is installed on above grade walls (R10 minimum)
20 | 1 |  | Gas cooktop is installed
21 | 2 |  | High-Efficiency Furnace (96+) with an ECM motor is installed
22 | 2 |  | Air Source Heat Pump is installed (11 HSPF minimum)
23 | 1 |  | A High-Efficiency Boiler is installed (94% minimum)
24 | 1 |  | Ladder framing is used at partition wall connections and insulation achieves RESNET Grade 1 standards
25 | 1 |  | Exterior walls are framed at 24” OC
26 | 1 |  | All above grade wall insulation achieves RESNET Grade 1 standards
27 | 1 or 2 |  | Special feature (up to 2 points). This allows for green technology not covered in the check list for this category. Please specify to be reviewed for approval by the Green Path technical committee.
---------------
|  | 0 | TOTAL
Minnesota Green Path Indoor Environment Quality
Item # | Available Points | Earned Points
1 | 1 |  | Active soil gas (radon) mitigation system is installed.
2 | 1 |  | 4” min perforated foundation drain with 3/4” of gravel and filter fabric installed at INSIDE perimeter of footings and rock entire underneath
3 | 1 |  | Water-based waterproofing system is installed on below-grade walls
4 | 1 |  | A drainage plane and 3/8” air/drainage space exists behind siding
5 | 1 |  | Recessed light fixture installed in unconditioned areas are boxed and sealed. (see manual for unconditioned space requirements)
6 | 1 |  | Spray-foam insulation is applied to air seal over entire attic floor (R10 minimum)
7 | 1 |  | ENERGYSTAR® rated garage exhaust fans are installed in attached garages (25CFM continuous or 100CFM intermittent)
8 | 1 |  | HVAC air filters are MERV 12 or higher
9 | 1 |  | HVAC Contractor verified that rooms and zones have balanced air flow (upload report) to be verified by a HVAC contractor or a company that holds the proper certification
10 | 1 |  | Carpet covers 50% or less of floor space excluding bathrooms, and kitchens, entryways and utility rooms
11 | 2 |  | No carpet is installed; home has all hard-surface flooring
12 | 1 |  | Exterior envelope is sealed and tested at 1.25 ACH or lower
13 | 1 |  | Certified low-VOC or no-VOC interior paints and finishes throughout
14 | 1 |  | Carpet, adhesives, and cushion qualify for CRI Green Label Plus or Green Label Testing Program
15 | 1 |  | ENERGYSTAR® certified bath and kitchen fans are installed
16 | 1 |  | All materials containing adhesives or paint are low-emitting and low-formaldehyde
17 | 1 |  | Properly designed ductless HVAC with ducted HRV/ERV is installed (Upload design plan for verification)
18 | 1 |  | Total duct leakage testing was performed and does not exceed 2 CFM/100 square feet without furnace or 3 CFM/100 square feet with furnace (tested by a third party and not aeroseal results)
19 | 1 or 2 |  | Special feature (up to 2 points). This allows for green technology not covered in the check list for this category. Please specify to be reviewed for approval by the Green Path technical committee.
---------------
|  | 0 | TOTAL
Minnesota Green Path Resource Management
Item # | Available Points | Earned Points
1 | 1 |  | Decking or patio material is made from 40% content recycled material
2 | 1 |  | Recycled erosion control materials were used for silt fencing.
3 | 1 |  | Recycled concrete, asphalt, or glass was used for base or fill.
4 | 1 |  | Two-stud with drywall clips or 3-stud (California) for framing corners
5 | 1 |  | Single top plate construction installed throughout the majority of the house's framing
6 | 1 |  | Roofing material with minimum 25% recycled content installed.
7 | 1 |  | Insulation with minimum 20% recycled content installed for at least 50% of the insulation (e.g., all walls or only attic)
8 | 1 |  | Construction waste was sorted on or off site and recycled as appropriate
9 | 1 |  | A recycling center with a minimum of two sorting bins was installed
10 | 1 |  | Recycling center includes compost sorting bin
11 | 1 |  | Reusable footings and foundation forms were used
12 | 1 |  | Beams, headers and trusses are made from reclaimed material
13 | 1 |  | No 2x10 or larger dimensional lumber was used
14 | 1 |  | 90% of lumber in home is SFI/FSC/CSA certified.
15 | 1 |  | Locally produced (within 500 miles of home) lumber was used.
16 | 1 |  | Interior walls are framed on 24” center
17 | 1 |  | Roofing material carries lifetime-warranty
18 | 1 |  | Whole-house surge protector is installed
19 | 1 |  | Fire suppression system is installed in house
20 | 1 |  | Flexible ductwork without excess coils or loops is installed
21 | 1 |  | One of the following items are recycled or reclaimed: wall coverings, floor coverings, countertop materials, millwork, or cabinets
22 | 1 |  | Three of the following items are locally sourced (within 500 miles): cabinets, interior doors and trim, millwork, windows, flooring, shingles, roofing, PEX tubing, countertops
23 | 1 |  | Materials that protect waterproof membrane and function as a hydrostatic pressure release are installed
24 | 1 |  | Steel studs were used on new foundation walls for basement finishing
25 | 1 |  | Finger-jointed lumber used for 1/3 of the home’s dimensional lumber.
26 | 1 |  | Studs are Laminated Strand Lumber (LSL, TimberStrand&reg;)
27 | 1 or 2 |  | Special feature (up to 2 points). This allows for green technology not covered in the check list for this category. Please specify to be reviewed for approval by the Green Path technical committee.
---------------
|  | 0 | TOTAL
Minnesota Green Path Water Management
Item # | Available Points | Earned Points
1 | 1 |  | Landscape plan with topography layout
2 | 1 |  | Irrigation system design zones turf and bedding areas separately (upload design plan for verification)
3 | 1 |  | A Drip Irrigation System is installed
4 | 1 |  | Installed Drip Irrigation System has moisture/rain sensor (no points if code 1)
5 | 2 |  | A greywater irrigation system and collection system are installed
6 | 1 |  | Roof water drainage system is installed
7 | 1 |  | Roof water drainage system uses rain barrels/cysterns
8 | 1 |  | Hot water recirculating pump is installed (pump must NOT run continuously)
9 | 1 |  | NSF-certified water filters are installed on drinking water sources
10 | 1 or 2 |  | Enter total # of toilets installed in the home - the # that are composting, the # that use less water than 1.2 gallon/flush & the # that have light and heavy flush modes. If just one toilet, 1 point, two or more toilets, 2 points.
11 | 1 |  | All lavatory faucets are .5 gal/min
12 | 1 |  | Showerheads are 1.5 gal/min
13 | 1 |  | A personal rain garden a minimum of 10 feet from the foundation is installed
14 | 1 |  | Soil was tested for nutrient level and structure (upload results for verification)
15 | 1 |  | If test requires soil to be amended to achieve optimal nutrient level and structure
16 | 1 |  | A low-water landscaping plan was used; planted turf is low-water, low-mow (upload plan for verification).
17 | 1 |  | At least 3” of mulch was applied to all planting beds
18 | 1 |  | Showers each have no more than one shower head
19 | 1 |  | No garbage disposal installed
20 | 1 |  | A composting portable toilet was used on jobsite
21 | 1 |  | An erosion control plan was designed by a licensed engineer (upload plan for verification)
22 | 1 |  | Irrigation system was designed by EPA, water-sense certified professional (upload plan for verification)
23 | 1 or 2 |  | Whole house water softener system installed (2 points if non-electric)
24 | 1 |  | No plantings are within three feet of foundation
25 | 1 or 2 |  | Special feature (up to 2 points). This allows for green technology not covered in the check list for this category. Please specify to be reviewed for approval by the Green Path technical committee.
---------------
|  | 0 | TOTAL
Minnesota Green Path Land Use
Item # | Available Points | Earned Points
1 | 1 |  | Home shares a common driveway or alleyway with at least one other home.
2 | 1 |  | Home is built in an area where housing density averages more than 4 single family homes per acre
3 | 1 |  | Home is built on infill site
4 | 1 |  | There is an accessible community garden area within one mile of the home-site
5 | 1 |  | Home is within 1/2 mile of local businesses
6 | 1 |  | Wood (lumber or tree) waste was recycled on-site into mulch
7 | 1 |  | No healthy heritage trees were removed on the home-site
8 | 1 |  | Home is built on greyfield site
9 | 1 |  | Home is built on brownfield site
10 | 1 |  | Home is within 1/2 mile of public transportation access
11 | 1 |  | Home is within five miles of a park-and-ride location
12 | 1 |  | Home is within 1/2 mile of a bike route
13 | 1 |  | There are no impervious surfaces outside of the building footprint, other than the driveway and code-required surfaces
14 | 1 |  | Excavated soil was kept on-site
15 | 1 |  | Efforts were taken to restore ecosystem damaged in construction (upload restoration plan for documentation)
16 | 1 |  | A compost bin is installed outside the home
17 | 1 |  | Patios are surfaced with permeable pavers
18 | 1 |  | Driveway was surfaced with permeable pavers
19 | 1 |  | A metal roof was installed
20 | 1 |  | French drains were installed to keep water on-site
21 | 1 |  | Over 50% of trees removed from construction site were replanted
22 | 1 |  | Each tree removed during construction was replaced with two or more trees
23 | 1 or 2 |  | 25% of building site was undisturbed during construction (1 point) or 50% of building site was undisturbed during construction (2 points)
24 | 1 |  | Home is oriented to maximize available light
25 | 1 or 2 |  | Special feature (up to 2 points). This allows for green technology not covered in the check list for this category. Please specify to be reviewed for approval by the Green Path technical committee.
---------------
|  | 0 | TOTAL
©Minnesota's Green Path - Rev 2/24